## Tabelle2
Adress (2-digits):
Title | Payload |  |  | CRC16
RS485 Unlock | W010;0; | #REF! | #NAME? | #NAME? | :01W010;0;E9C3
RS485 Lock | W010;1; | #REF! | #NAME? | #NAME? | :01W010;1;79C2
Set 'Streaming mode' -> On(1) | W044;1; | #REF! | #NAME? | #NAME?
Set 'Streaming mode' -> Off(0) | W044;0; | #REF! | #NAME? | #NAME?
Set 'Trigger mode' -> single shot trigger | W018;1; | #REF! | #NAME? | #NAME?
Set 'Trigger mode' -> run while low | W018;0; | #REF! | #NAME? | #NAME?
Factory Reset | W202;0; | #REF! | #NAME? | #NAME?
Store settings to active | W201;0; | #REF! | #NAME? | #NAME?
Store settings config 1 | W201;1; | #REF! | #NAME? | #NAME?
Store settings config 2 | W201;2; | #REF! | #NAME? | #NAME?
Store settings config 3 | W201;3; | #REF! | #NAME? | #NAME?
Load settings config 1 | W200;1; | #REF! | #NAME? | #NAME?
Load settings config 2 | W200;2; | #REF! | #NAME? | #NAME?
Load settings config 3 | W200;3; | #REF! | #NAME? | #NAME?
Read settings config 1 | R203; | #REF! | #NAME? | #NAME?
Read settings config 2 | R204; | #REF! | #NAME? | #NAME?
Read settings config 3 | R205; | #REF! | #NAME? | #NAME?
Read active config | R206; | #REF! | #NAME? | #NAME?
Read Error | R000; | #REF! | #NAME? | #NAME?
Laser OFF | W034;1; | #REF! | #NAME? | #NAME?
Laser ON | W034;0; | #REF! | #NAME? | #NAME?
Read Laser ON/OFF state | R034; | #REF! | #NAME? | #NAME?
Read_RS485Lock | R010; | #REF! | #NAME? | #NAME?
Read_VendorInfo | R001; | #REF! | #NAME? | #NAME?
Read_DeviceInfo | R002; | #REF! | #NAME? | #NAME?
Read_Address | R005; | #REF! | #NAME? | #NAME?
Read_Baudrate | R006; | #REF! | #NAME? | #NAME?
Write_Baudrate -> 57600 | W006;1; | #REF! | #NAME? | #NAME?
Write_Baudrate -> 115200 | W006;2; | #REF! | #NAME? | #NAME?
Write_Baudrate -> 921600 | W006;3; | #REF! | #NAME? | #NAME?
Write_Baudrate -> 1500000 | W006;6; | #REF! | #NAME? | #NAME?
Get MeasType | R020; | #REF! | #NAME? | #NAME?
Get 'Analog Out Config' | R041; | #REF! | #NAME? | #NAME?
Set 'Analog Out Config' to 'Current','POS Scope' | W041;0;0; | #REF! | #NAME? | #NAME?
Set 'Analog OutConfig' to 'Voltage','NEG Scope' | W041;1;1; | #REF! | #NAME? | #NAME?
Set 'Analog OutConfig' to 'Voltage','POS Scope' | W041;1;0; | #REF! | #NAME? | #NAME?
Get 'Analog Out Scale' | R042; | #REF! | #NAME? | #NAME?
Set 'Analog Out Scale' -> Near:50 - Far:250 | W042;50.000;250.000; | #REF! | #NAME? | #NAME?
Set 'Analog Out Scale to MAX' | W043;1; | #REF! | #NAME? | #NAME?
Get 'Digital Out Config' | R040; | #REF! | #NAME? | #NAME?
Set 'Digital Out Config' -> Switchpoint1:48.989 Switchpoint2:150.000 Window:1 Invert Polarity:1 | W040;48.989;150.000;0;1; | #REF! | #NAME? | #NAME?
Set Precision to Standard | W033;0; | #REF! | #NAME? | #NAME?
Set Precision to High | W033;1; | #REF! | #NAME? | #NAME?
Set Precision to Very High | W033;2; | #REF! | #NAME? | #NAME?
Set Precision to Highest | W033;3; | #REF! | #NAME? | #NAME?
Read Single Measurment Value | R021; | #REF! | #NAME? | #NAME?
Write DiagMode -> 1 | W050;1; | #REF! | #NAME? | #NAME?
Write DiagMode -> 0 | W050;0; | #REF! | #NAME? | #NAME?
Read LiveMonitor | R054; | #REF! | #NAME? | #NAME?
Reactivate outputs | W011;1; | #REF! | #NAME? | #NAME?
Set 'Object type' -> dark | W032;1; | #REF! | #NAME? | #NAME?
Set 'Object type' -> bright | W032;0; | #REF! | #NAME? | #NAME?
Get 'Trigger mode' | R018; | #REF! | #NAME? | #NAME?
Get 'Streaming mode' | R044; | #REF! | #NAME? | #NAME?
Diagnose data | R253; | #REF! | #NAME? | #NAME?
Get Profile | R052;
Field of view | R30;

## Sheet1 (2)
Feature | Command | Description | Host | END
User interface features | RS485 | Lock deactivated | :01W010;0;E9C3 | HEX : 0D0A
|  | Lock activated | :01W010;1;79C2
| Output reactivation | Outputs deactivated | :01W011;0;15C2
|  | Outputs activated | :01W011;1;85C3
| Display language | English | :01W015;0;25C3
|  | German | :01W015;1;B5C2
|  | Italian | :01W015;2;45C2
|  | French | :01W015;3;D5C3
| Touch button lock | Touch buttons not locked | :01W017;0;9DC2
|  | Touch buttons locked | :01W017;1;0DC3
| Trigger mode | Triggered free running measurement | :01W018;0;89C1
|  | Triggered single shot measurement | :01W018;1;19C0
Measurement features | Measurement type selection | - | :01R020;99F5
| Measurement value | - | :01R021;09F4
| Precision | Standard | :01W033;0;6DBA
|  | High | :01W033;1;FDBB
|  | Very high | :01W033;2;0DBB
|  | Highest | :01W033;3;9DBA
| Laser off data hold | Measurement is running | :01W034;0;19BB
|  | Measurement is holding | :01W034;1;89BA
Output configuration | Digital output configuration | Set 'Digital Out Config' -> Switchpoint1:48.989 Switchpoint2:150.000 Window:1 Invert Polarity:1 | :01W040;48.989;150.000;0;1;5F31
| Analog output configuration | Set 'Analog Out Config' to 'Current','POS Scope' | :01W041;0;0;7C90
|  | Set 'Analog OutConfig' to 'Voltage','NEG Scope' | :01W041;1;1;1090
|  | Set 'Analog OutConfig' to 'Voltage','POS Scope' | :01W041;1;0;8091
| Analog output scaling | Set 'Analog Out Scale' -> Near:50 - Far:250 | :01W042;50.000;250.000;C145
| Set analog out scale to MAX command | Set analog out scale to MAX. | :01W043;1;3D0E
| RS485 streaming mode | RS485 streaming mode enabled | :01W044;0;D90E
|  | RS485 streaming mode disabled | :01W044;1;490F
| Digital out hysteresis configuration | Width of hysteresis 1: 30.000 [mm] Width of hysteresis 2: 20.000 [mm] INNER ALIGNMENT | :01W045;30.000;20.000;4;453A
|  | Width of hysteresis 1: 30.000 [mm] Width of hysteresis 2: 20.000 [mm] OUTER ALIGNMENT | :01W045;30.000;20.000;5;D53B
Diagnosis features | Diagnose mode | Deactivated | :01W050;0;2932
|  | Activated | :01W050;1;B933
| Read Live monitor | - | :01R054;9846
Configuration storage features | Load configuration command | Active config | :01W200;0;CBFF
|  | Config 1 | :01W200;1;5BFE
|  | Config 2 | :01W200;2;ABFE
|  | Config 3 | :01W200;3;3BFF
| Store configuration command | Active config | :01W201;0;37FE
|  | Config 1 | :01W201;1;A7FF
|  | Config 2 | :01W201;2;57FF
|  | Config 3 | :01W201;3;C7FE
| Reset to factory settings command | Reset to factory settings | :01W202;0;73FE
| Read Configuration 1 | - | :01R207;D157
| Read Configuration 2 | - | :01R208;2152
| Read Configuration 3 | - | :01R209;B153
| Active configuration | - | :01R210;2104
Application Errors | Read Application error | - | :01R000;5954
Device identification | Read Vendor info | - | :01R001;C955
| Read Device info | - | :01R002;3955
| Read Bus address | - | :01R005;0957
| Read Communication baud rate | - | :01R006;F957

## Sheet1
Command | Description | Host
Command 000 “RS-485 CONTROLS THE SENSOR” | RS485 Unlock | {1,000,0,102}
| RS485 Lock | {1,000,1,103}
Command 001 “STORE in SETTINGS” | Setting 0 | {1,001,0,103}
| Setting 1 | {1,001,1,102}
| Setting 2 | {1,001,2,101}
| Setting 3 | {1,001,3,100}
Command 002 “APPLY SETTINGS” | Setting 1 | {1,002,1,101}
| Setting 2 | {1,002,2,102}
| Setting 3 | {1,002,3,103}
Command 003 “RESET to FACTORY SETTINGS” |  | {1,003,121}
Command 010 “Set BAUD RATE” | 38400 | {1,010,0,103}
| 57600 | {1,010,1,102}
| 115200 | {1,010,2,101}
Command 012 “Set ADDRESS” | 예) 국번 2번으로 설정 | {1,012,2,103}
Command 013 “Get ADDRESS” |  | {0,013,121}
Command 020 “Set MEASUREMENT TYPE” | Edge L rise | {1,020,0,100}
| Edge L fall | {1,020,1,101}
| Edge R rise | {1,020,2,102}
| Edge R fall | {1,020,3,103}
| Width | {1,020,4,096}
| Center width | {1,020,5,097}
| Gap | {1,020,6,098}
| Center gap | {1,020,7,099}
Command 031 “Get MEASUREMENT” |  | {1,031,120}
Command 040 “Set PRECISION” | "Standard" Median = off, Moving Average = off | {1,040,0,098}
| "High" Median = 7, Moving Average = 16 | {1,040,1,099}
| "Very High" Median = 15, Moving Average = 128 | {1,040,2,096}
Command 042 “Set EDGE HEIGHT” | Set EDGE HEIGHT | {1,042,4,100}
Command 044 “Set OBJECT” | Bright Object | {1,044,0,102}
| Dark Object | {1,044,1,103}
Command 050 “Set FIELD OF VIEW” | Set FIELD OF VIEW (예 : Limit left = -37, Limit right = 37, Offset = 15) | {1,050,-37,37,15,xxx}
Command 058 “Set FIELD OF VIEW, Set max Values” | Set FIELD OF VIEW, Set max Values | {1,058,119}
Command 062 “Activate FLEX MOUNT” | Activate FLEX MOUNT (예 : Reference thickness = 11mm) | {1,062,11,082}
Command 063 “Deactivate FLEX MOUNT” | Deactivate FLEX MOUNT | {1,063,127}
Command 070 “Set DIGITAL OUT” | Set DIGITAL OUT (예 : Point 0, -35mm, Active low 1) | {1,070,0,-35,-35,1,xxx}
| Set DIGITAL OUT (예 : Window 1, -35mm / 20mm, Active High 0) | {1,070,1,-35,20,0,xxx}
Command 080 “Set LANGUAGE” | English | {1,080,0,110}
| German | {1,080,1,111}
| Italian | {1,080,2,108}
| French | {1,080,3,109}
Command 082 “Set DISPLAY BACKLIGHT” | OFF after 5 min | {1,082,0,108}
| OFF after 10 min | {1,082,1,109}
| OFF after 20 min | {1,082,2,110}
| Always ON | {1,082,3,111}
Command 084 “Lock/Unlock TOUCH BUTTONS” | unlock | {1,084,0,106}
| lock | {1,084,1,107}
Command 091 “Get SENSOR INFO” |  | {1,091,114}
Command 093 “LIVE MONITOR” |  | {1,093,112}
Command 401 “Get all SETTINGS” |  | {1,401,0,099}